Location: __________________________________________   Date: ___/___/____ Time:____________

(Area description must be precise – Sop, attach drawing & Risk Assessment.)

Description of work: ______________________________________________________________

______________________________________________________________________________

Work Execution Date: __________	Valid Time From: ____________To: ________________

Name of work performing contractor: _______________________________

Requester by Cont. Engineer/ Supervisor: Name ______________Sign: ________ Date: _______

Verify by Cont. Safety officer:                     Name ______________ Sign: _________Date: _______

The above signing person will be responsible to ensure that the above-described work will be done under all the safety precaution mentioned on the PTW and required by the Project.

The following precautions are to be taken.

| No | Item | Yes | NA |
| --- | --- | --- | --- |
| 1 | Proper & Safe work platform, access, exit provided |  |  |
| 2 | Proper ventilation and lighting provided |  |  |
| 3 | Fire watch as standby is in place. |  |  |
| 4 | Remove all combustible material near Welding work & machine located area. |  |  |
| 5 | Welding machine grounded at the equipment & proper leakage current protection device (ELCB) provided for welding machine. |  |  |
| 6 | Emergency STOP switches are in working condition. Welder / helper knows how to operate emergency STOP switches |  |  |
| 7 | Welding machine, Input / Output Cables, welding holder and weld return clamp (Holder) insulated & in good condition |  |  |
| 8 | Welder and fitter trained to connect ground / work return clamps (Holder) to the work piece prior to energization of Welding machine. |  |  |
| 9 | Gas Cylinders stacked vertically and not below the welding/cutting area. Regulator Key is available with cylinders. |  |  |
| 10 | Pressure gauges/ Flash back arrestor provided & in working condition. |  |  |
| 11 | Personal Protective Equipment. Minimum applicable - Safety helmet, safety goggles, welding helmet, safety shoes, leather gloves, long sleeve and nose mask provided. |  |  |
| 12 | In case of pits, water removed from the pit & wood /rubber insulation provided. |  |  |
| 13 | Safety Sign board are in place |  |  |
| 14 | Adequate & suitable nos. of firefighting extinguisher provided. |  |  |
| 15 | Nearby combustible material removed. Housekeeping Done. |  |  |
| 16 | Other |  |  |

I understand the precaution to be taken as described above and as per Project requirement & here by confirm that Work will be executed under my supervision by following all precaution & Safety Rules.

| Permit No | Date | Contractor Engineer/ Supervisor | Contractor Safety Officer | VTP Site Engineer/ manager | VTP Safety Officer/ Manager | Permit Closing Time & Sign |
| --- | --- | --- | --- | --- | --- | --- |

Permit Closing & Cancellation:

I hereby declare that the work is completed/ suspended, all workers under my control have been withdrawn and the site restored to a safe tidy condition.

Requester by Cont. Engineer/ Supervisor:          Name ____________ Sign: _________ Date: _______

Reviewed/ Issuing By PMC/ VTP Site Engineer: Name ______________Sign: _________Date: _______